## Sheet1
|  |  |  | addController(addr, group, data) | add device with "addr" as controller for group "group", with link data "data"
|  |  |  | addResponder(addr, group, data) | add device with "addr" as responder for group "group", with link data "data"
|  |  |  | addSoftwareController(addr) | add device with "addr" as software controller
|  |  |  | beep() | sends beep command to the device
|  | buttonBeepOff() | sets button beep off
|  | buttonBeepOn() | sets button beep on
|  | buttonLockOff() | sets button lock off
|  | buttonLockOn() | sets button lock on
|  |  |  | enableStatusReports() | enables status reports being sent to group #0xef
|  | getData1() | performs data1 query
|  | getData1b() | performs data1b query
|  | getData2() | performs data2 query
|  |  |  | getEngineVersion() | queries device for engine version
|  |  |  | getFirmwareVersion() | queries device for firmware version
getHumidity() | queries humidity
|  |  |  | getId() | get category, subcategory, firmware, hardware version
|  | getOpFlagsExt() | gets operational flags via ext message
|  | getOpFlagsSD() | gets operational flags via sd message
|  | getSchedule(day) | gets schedule for day (0=Sunday, 6=Saturday)
getSetPoint() | queries temperature set point
getTemperature() | queries temperature
|  |  |  | getdb() | download the device database and print it on the console
|  |  |  | linkingLockOff() | sets linking lock off
|  |  |  | linkingLockOn() | sets linking lock on
|  |  |  | ping() | pings the device
|  |  |  | printdb() | print the downloaded link database to the console
|  |  |  | removeController(addr, group) | remove device with "addr" as controller for group "group", with link data "data"
|  |  |  | removeLastRecord() | removes the last device in the link database
|  |  |  | removeResponder(addr, group) | remove device with "addr" as responder for group "group"
sendOff() | sends off command to the device |  |  | removeSoftwareController(addr) | remove device with "addr" as software controller
sendOn() | sends on command to the device
|  | setACHysteresis(minutes) | set A/C hysteresis (in minutes)
setAllOff() | set system mode to OFF
|  | setBacklightSeconds(time) | set backlight time in seconds
setCoolPoint(temp) | sets cooling temperature
setFanAuto() | set fan mode to AUTO
setFanOn() | set fan mode to ALWAYS ON
setHeatPoint(temp) | sets heating temperature
setHumidityHighPoint(point) | sets high point for dehumidification
setHumidityLowPoint(point) | sets low point for humidification
|  | setHumidityOffset(offset) | set humidity offset(for calibration, use with care!)
|  |  |  | setOnLevel(addr, group, level, ramprate = 28, button = 1) | sets (on level, ramp rate, button) for controller with "addr" and group "group"
|  | setSchedule(day, period, time, cool, heat) | sets schedule params: day = 0(Sunday) .. 6 (Saturday), period = (0=wake, 1=leave, 2=return, 3=sleep), time = (e.g.) "06:30", cool/heat = temperatures
|  | setStage1Minutes(time) | set number of minutes to try stage 1 before going into stage2
|  | setTemperatureOffset(offset) | set temperature offset(for calibration, use with care!)
|  | setTime(day, hour, min, sec) | sets clock time (day = 0(Sunday) .. 6 (Saturday))
setToAuto() | set system mode to AUTO (manual)
setToCool() | set system mode to COOL
setToHeat() | set system mode to HEAT
setToProgram() | set system mode to AUTO (program)
|  | statusLEDOff() | don't switch status LED on when heating/cooling
|  | statusLEDOn() | switch status LED on when heating/cooling
|  | use12hFormat() | set time format 12h
|  | use24hFormat() | set time format 24h
useCelsius() | set temperature display in celsius
useFahrenheit() | set temperature display in fahrenheit